Project: <PROJECT NAME>  – Estimated Annual Energy Use – <DATE>

| Lincoln St Affordable |  |  |  |
| --- | --- | --- | --- |
| Month | Common Area Energy Usage (kWh) | Pool Energy Usage (kWh) | EV Charging Energy Usage (kWh) |
| 1 | 10042.82 | 6695.94 | 1313.33 |
| 2 | 8143.62 | 5429.68 | 1313.33 |
| 3 | 6943.73 | 4629.66 | 1313.33 |
| 4 | 6889.48 | 4593.49 | 1313.33 |
| 5 | 7634.33 | 5090.11 | 1313.33 |
| 6 | 8710.33 | 5807.52 | 1313.33 |
| 7 | 9602.30 | 6402.23 | 1313.33 |
| 8 | 9962.66 | 6642.50 | 1313.33 |
| 9 | 7929.43 | 5286.86 | 1313.33 |
| 10 | 7115.97 | 4744.50 | 1313.33 |
| 11 | 7398.52 | 4932.89 | 1313.33 |
| 12 | 9515.88 | 6344.61 | 1313.33 |
| Total | 99,889 | 66,600 | 15,760 |

*These calculations are an estimate based on daily nonresidential energy use calculated through CEC approved software.

**Pool Energy Use monthly values are an estimate based on annual values calculated using a LEED Pool Energy Use Draft Calculator which provides a rough order-of-magnitude assessment of energy use.

***EV Charging Energy Use values are an estimate based on 394 kWh per month per EV Charging station https://www.edmunds.com/electric-car/articles/how-much-electricity-does-an-ev-use.html

****Actual operating energy use will vary.

<REMOVE ANY ENERGY DISCLAIMER IF THERE IS NOT RELEVANT FOR PROJECT>